## Slide 1: ENDOSCOPIC EXAMINATIONS

## Slide 2: ENDOSCOPY
This is the use of a hollow instrument to look inside the body cavities or organs . It uses flexible tube that has a small (camera)on the end of it.
The instrument is referred to as an endoscope
An endoscope is passed through a natural body opening or via a small incision. For example a laparascope is inserted thru small surgical incision in the pelvic or abdominal area
If an ultra-sound probe is added to endoscope E.g. GIT endoscope this is called endoscopic ultrasound

## Slide 3: BRONCHOSCOPY
This is the direct inspection and examination of larynx(laryngoscopy), trachea and bronchi through a flexible or rigid bronchoscope
PURPOSES
DIAGONISTIC
Lung growth, lymphnodes ,atelectasis or other changes seen on x-ray or imaging tests
Coughing up blood(haemoptysis)
Suspected interstitial lung disease
Cough that has lasted for more than 3months without any other explanation
To determine if a tumor can be removed surgically ( resected)
To obtain a tissue for biopsy
To diagnose lung rejection after lung transplant

## Slide 4
THERAPEUTIC
To remove foreign bodies from the trachea
Remove fluid or mucus plugs from airways
Widen (dilate)blocked or narrowed airway
Drain and abscess
Treat cancer using a number of different techniques
Wash out an airway (therapeutic lavage)

## Slide 5: Preparing for the procedure
Informed consent to be signed by the patient
Starve patient 6-12hrs
Explain procedure to patient to allay anxiety
Advise patient to avoid asprin, brufen and other anticoagulants before the procedure
Give pre-medication :
atropine 0.6mg-1mg(iv,sc,im)
sedative(diazepam 5-10mg) or narcotic to inhibit stimulation of the vagus nerve and prevent vomiting , suppress cough reflex ,sedate & relieve anxiety.
dentures are removed and all artificial prothesis
Assist in spraying local anaesthesia if its to be used
If a rigid bronchoscope is used general anaesthesia is given

## Slide 6: Post procedure care
For an hour after the procedure observe patients vital signs
Monitor and report changes in breathing , chest pain or oxygen saturation levels ,hypertension , tachycardia, hemoptysis
Patient should be nil per oral until cough reflex and effects of local anaesthesia have worn off. Cracked ice is given to suck, later fluid.
Observe for confusion and lethargy in elderly
When the patient is no longer experiencing effects off sedation they can be allowed to sit up

## Slide 7: Complications
Aspiration
Bronchospasm
Hypoxaemia
Pneumothorax
Bleeding
Abrasion of lining of airways leading to swelling, inflammation and infection

## Slide 8: UPPER GIT FIBRE (ENDOSCOPY)
Also called esophagogastroduodenoscopy. It visualizes the upper part of the GI tract up to duodenum
It’s a minimally invasive procedure since it doesn’t require an incision into one of the major body cavities and doesn’t require significant recovery after procedure (unless sedation or anaesthesia have been used)
It allows direct visualization of gastric mucosa thru a lighted endoscope for suspected gastric tumors and diseases , colored photos or motion pictures can also be taken
Mouth guard are used during the procedure to prevent the patient from biting the scope

## Slide 9: OESOPHAGOSCOPY AND GASTROSCOPY
An esophagoscopy is a procedure to view the inside of the esophagus
Gastroscopy is a procedure to view inside of stomach
Duodenoscopy is a procedure to view duodenum .
These procedures are performed as a single procedure and are collectively referred to as an upper endoscopy or oesophagogastroduodenoscopy(OGD)

## Slide 10
Purposes
Examine esophagus for ulcers and tumors
Taking biopsy
Removal of foreign bodies
Dysphagia or odynophagia
Persistent nausea and vomiting
Dyspepsia
Acute upper GIT bleeding
Chronic anaemia/or iron deficiency anaemia after non gastro-intestinal origin has been eliminated.
Gastro-esophageal reflux with warning signs i.e. weight loss, dysphagia, bleeding and anaemia
Peptic ulcer disease

## Slide 11
Preparation of the patient
Starve 6-8hrs(stomach must be empty for clear view)
Narcotic analgesia is given 30minutes before
Patients throat maybe sprayed with local anaesthesia to help prevent discomfort, or they gargle local anaesthetic agent for mouth and throat or
IV diazepam 5-10mg is given just before the procedure
Atropine 0.6-1.0mg IM/IV is also given to reduce secretions
Organon 0.5-1.0mg IM is given to relax smooth muscles

## Slide 12
Procedure
Local anaesthesia is sprayed in mouth or throat or sedation is done
Endoscope is then passed smoothly and slowly in the areas being examined
The procedure takes 10-20minutes
The doctor may inject moderate amount of air to expand the stomach allowing better visualizaton
Biopsy is taken for examination or images of the digestive tract are taken for documentation of any abnormality; esophageal varices can be banded, resecting or ablating mucosal tissue

## Slide 13: After procedure care
Patient should not eat 3-4hrs after procedure until gag reflex returns to prevent aspiration
Observe for vital signs post procedure
Observe for signs of perforation E.g. pain, hematemesis
Minor throat discomfort may occur after procedure and last upto 24hrs, it can be relieved with lozenges, cool saline gargle or analgesics
Advise the patient to report any unusual or severe abdominal pain or bleeding following the procedure

## Slide 14
Complications
Bleeding
Infection
Perforation
Cardiopulmonary problems
Adverse reactions to medications

## Slide 15: LOWER GIT ENDOSCOPY
These are procedures for direct viewing of the lumen of the lower bowel using;
Anoscope ;- to examine the anal canal
Proctoscope ;- for the rectum
Sigmoidoscope ;- for the colon
Purpose
To check presence of ulceration, tumors, polyps, and lesions
To take a biopsy
Removal of polyps

## Slide 16
Indications
Gastrointestinal problems such as unexplained bleeding
Persistent changes in bowel habits
Anaemia
Age 50yrs; 5yearly then 3 yearly
To diagnose colitis or colon/rectal cancer
Preparation
The patient should take only clear oral fluids and not to consume any food for at least 24hrs before the exam
Laxatives and enemas may be required before the start of exam to clear the lower bowel

## Slide 17: Anoscopy/proctoscopy
Procedure
Explain the procedure to the patient
Put the patient in knee chest position with feet beyond the edge of the bed, knees apart to give support, head resting on the couch, fore arms on either side of the head and hands placed one on top of the other above the head
The patient is told of the progress, the possibility he might feel like moving his bowel and thanked for co-operation

## Slide 18
Suction may be done to remove secretions
Biopsy may be taken
Polyps may be removed and the area cauterized to prevent bleeding
The tissue removed is placed on moist gauze and then in the appropriate container, labelled , and sent to the pathology lab with the request form.
After each use the tubes are washed thoroughly
Disposable tubes should be disposed safely

## Slide 19: Colonoscopy/sigmoidoscopy
This is endoscopic examination of the large bowel and distal part of the small bowel with an endoscope passed through the anus.(colonoscope)
The colonoscope has a small camera attached to a flexible tube that can reach and examine the entire length of the colon.
Indications
Diagnostic:
Colon cancer, inflammatory bowel disease, GIT haemorrhage, ulceration, polyps, and removal of biopsy; changes in bowel habit(unexplained).

## Slide 20
Prophylactic:
Removal of polyps
Therapeutic:
Removal of foreign bodies
Screening every 10yrs from 50yrs for colorectal cancer
Patient preparation
Explain the procedure to the patient
Starve the patient of solid foods for 3 days to empty the GIT
Laxatives are given for two days
On day of examination an enema is given until rectum is clear
Narcotic analgesic may be ordered and administered
Diazepam is given to sedate the patient

## Slide 21
Procedure
Sigmoidoscopy; position the patient in knee chest
colonoscopy; the patient lies on left side with legs drawn up
The first step is usually a digital rectal examination to examine the tone of the anal sphincter and to determine if the preparation is adequate
Patient is sedated, the endoscope is then passed through the anus up the rectum and colon(sigmoid, descending, transverse, and ascending colon, the caecum) and ultimately the terminal ileum

## Slide 22
The bowel is ocassionally inflated with air to maximize visibility(procedure that may give false sensation of need to have a bowel movement)
Biopsies are then taken for histology or examination and diagnostic evaluation of colon is done.
Post procedure care
Advise the patient to refrain from operating heavy machinery until a day after the procedure
The patient resumes other normal activities after effects of sedation wear off E.g. eating and drinking normally
Advise patient to report signs of, chills, fever, rectal bleeding(more than a tablespoon) swelling or redness at IV site or severe abdominal pain or bloating

## Slide 23
Mild abdominal pain and bloating is expected after the procedure
Complications
Perforation
Haemorrhage
Inflammation of the bowel

## Slide 24: Cystoscopy
This is endoscopy of the urinary bladder via the urethra
A cytoscope is used
Diagnostic cytoscopy is carried out using local anaesthesia, GA is sometimes used for operative cytoscopic procedures.
To enable clear visualization, sterile irrigation solution is instilled to distend the bladder and wash away any clots.

## Slide 25
Indications
Urinary tract infections
To assess the ureter and kidney pelves
Haematuria
Incontinence( loss of bladder control)
Unusual cells found in urine sample
To remove renal calculi(kidney stones)
Urinary blockage E.g. prostate enlargement and stricture
Unusual growth, polyp, tumor or cancer and obtain biopsy

## Slide 26
Patient preparation
Explain the procedure to the patient
Patient may take 1-2 glasses of water (or as instructed) before going for the examination
They should not urinate for a sufficient period of time, such that they are able to urinate prior to the procedure
Procedure
Patient lies on their back(supine) with their knees slightly apart, they may also need to flex their knees especially when doing rigid cytoscopy examination.
For flexible cytoscopy , local anaesthesia is used
Local anaesthesia is applied directly from a tube or needleless syringe into the urinary tract

## Slide 27
The doctor gently inserts the tip of the cytoscope into the urethra and slowly guide it up the bladder
The procedure is more painfull for men than women due to length and narrow diameter of the male urethra, relaxing pelvic muscles helps ease this pain
A sterile liquid(water, saline, glycine solution) will flow through the cytoscope to slowly fill the bladder and stretch it so that there is a better and clear view of the bladder wall
The procedure takes 15-20 minutes

## Slide 28
After procedure care
Relief of expected discomfort i.e burning and frequency of micturation by encouraging patient to increase oral fluid intake
Warm bath or compresses also relieves the burning feeling
Incase of blood tinged urine –relieve this by application of moist heat to the lower abdomen
Warm sitz bath are also recommended for urinary retention from edema
An indwelling catheter may have to be inserted

## Slide 30: BIOPSIES

## Slide 31
A biopsy is a medical test commonly performed by a surgeon or radiologist involving sampling of cells or tissues for examination.
It’s a medical removal of tissue from a living subject to determine the presence or extent of a disease.

## Slide 32: TYPES OF BIOPSIES
Excisional(resectional) Biopsy: the entire lump or suspicious area is removed.
Incisional Biopsy: only a sample of tissue is removed with preservation of the histological nature of the tissue cells.
Needle aspiration biopsy: a sample of tissue or fluid is removed with needle.

## Slide 33
CT scan, ultrasonography MRI, are used to locate the suspicious area and guide the placement of needle.
Pathological examination of biopsy can determine whether a lesion is benign or malignant and is helpful in differentiating the types of cancer.

## Slide 34: Examples of areas to extract abiopsy
Biopsy from a lesion
Kidney e.g kidney dse
Transplantation e.g biopsy of the organ
Testicles e.g to test for fertility
Skin biopsy e.g in skin dse
Liver biopsy e.g liver dse ascitis

## Slide 35: Example of incisional biopsy

## Slide 36: Needle biopsy from breast

## Slide 37: Needle biopsy sample of liver

## Slide 38: Needle biopsy parathyroid gland

## Slide 39: Lung biopsy

## Slide 40: Incisional biopsy of uterus

## Slide 41: prostate

## Slide 42: NURSE ROLE
Provide information about the procedure to pt and family
Obtain a verbal and written consent from pt
Educate the pt hw the procedure will be performed.
Inform them where the biopsy site will be and what they should expect
Give reason for taking biopsy. the potential risks involved and other alternatives
Tell them when to expect the results and the expected outcomes

## Slide 43: Preparation
Assess pt for sedation requirements
Starve pt if sedation is required
Clean the environment
Make pt comfortable
Get the right medium to store the biopsy in the lab . E.g formalin; skin biopsy, special fixative for electron microscope, slide

## Slide 44: preparation
Make sure there is a clean dressing trolley, sterile pack, disposable scalpel/sterile scissors, gloves, disposable needles

## Slide 45: procedure
Take history
Take vital signs, observe the pt
Sedate pt if required
Maintain privacy and dignity and reassure the pt.
Clean the selected are to take the biopsy as advised by physician
Use aseptic techniques in taking the biopsy
Label the specimen bottle: name , hospital no.

## Slide 46: Procedure
Take the biopsy and place it in the specimen bottle or medium
Store the specimen appropriately
Dress the wound
Leave the pt comfortable as you dispose of the equipment
Document the procedure
Take the biopsy to the lab.

## Slide 47: Liver biopsy
Is a procedure where small pieces of liver tissue are removed in order to be sent to lab for examination
It’s helpful in the diagnosis of diseases that affect the liver E.g liver cirrhosis
Purpose
Diagnosis: this allows establishment of very specific diagnosis
Monitoring: monitoring effectiveness of therapy that the patient is receiving for a liver disease. It can also provide warning if certain therapies the patients are receiving are damaging to the liver

## Slide 48
Indications
Alcoholic liver
Elevated liver enzymes of unknown origin
Jaundice and billiary tract obstruction
Hemochromatosis
Hepatomegally of undetermined cause
Autoimmune liver disease
Cancers of the liver and non cancerous tumor
Chronic viral hepatitis
Liver transplantation- to rule out rejection

## Slide 49
Procedure
Requirements on trolley:
As for bone marrow biopsy with addition of the following
Scapel or blade
Specimen jar
Menghini liver biopsy needle
Preparation
Ascertain the results of coagulation tests- prothrombin time, partial thromboplastin time, and platelet count
Check for signed consent- confirm that informed consent has been provided

## Slide 50
c) Take and record patient’s vital signs immediately before biopsy
d)Explain the procedure to the patient- steps of the procedure, sensations expected, after-effects expected, restrictions of activity and monitoring procedures to follow
Steps
Support the patient during the procedure
Expose the right side of the patients upper abdomen(right hypochondriac)
Instruct the patient to inhale and exhale deeply several times finally to exhale and to hold breath at the end of expiration(prevents puncturing of the diaphragm and risk of lacerating the liver is minimized)
The physician promptly introduces the biopsy needle by way of the trans thoracic (inter costal) or trans abdominal (sub costal) route, penetrates the liver, aspirates and withdraws. The entire procedure is completed within 5-10 seconds.
Instruct the patient to resume breathing

## Slide 51
Nursing care post procedure
1)Immediately after biopsy, assist the patient to turn onto the right side; place a pillow under costal margin, and caution the patient to remain in this position, recumbent and immobile, for several hours.
Instruct the patient to avoid coughing or straining.
In this position, the liver capsule at the site of penetration is compressed against the chest wall, and the escape of blood or bile through the perforation is prevented.
2) Measure and record patients pulse, respiratory rate and BP at 10-15 minutes intervals for the first hour , then 30 minutes for the next 2hrs, or until the patient stabilizes.

## Slide 52
Changes in vital signs may indicate; bleeding, severe haemorrhage or bile peritonitis, most frequent complications of liver biopsy.
3)If the patient is discharged after the procedure, instruct the patient to avoid heavy lifting and strenuous activity for one week.
Complication
Fever
Pain, swelling, redness or discharge around needle insertion site
Chest pains
Shortness of breathing
Fainting or dizziness- sign of possible blood loss
Nausea and vomiting
Worsening abdominal pains – bleeding, leakage of bile

## Slide 53: Renal biopsy(needle biopsy of the kidney)
This is removal of a small piece of kidney tissue for examination. It can be done through;
Ultra sound guided kidney biopsy
CT-guided kidney biopsy
Or surgical biopsy
Indications
Protein in urine
Unexplained acute renal failure
Glomerulopathies
Transplant rejection

## Slide 54
Contraindications
Bleeding tendencies
Uncontrolled hypertension
Solitary kidney
Morbid obesity

## Slide 55: procedure
Patient preparation
Coagulation tests to identify patients at risk of post biopsy bleeding
Starve the patient for 6-8hrs(incase of nephrectomy)
Establish an intravenous line
Urine specimen is taken before biopsy for baseline data
Sedation, if ordered is given
Instruct the patient to hold his breath(to stop movement of the kidney) during the insertion of biopsy needle. If sedated place in prone with a sandbag under the abdomen

## Slide 56
Requirements
Top shelf: sterile renal biopsy set containing;
Towel and gloves
Towel with a hole for draping
Gauze and cotton wool swabs
Sponge holding forceps
Dissecting forceps
Small curved scissors trocar and cannula
Renal biopsy needle
Glass slides
Specimen jar gallipots
receiver

## Slide 57
20mls and 5mls syringes and needles
Scapel
Bottom shelf:
2% lignocaine
Antiseptic lotions; methylated spirit, savlon, and iodine
Assorted sizes of syringes and needles
Receiver
Mackintosh and towel
Shoulder blanket
Sandbag
Strapping
Shaving tray
collodion

## Slide 58
Steps
Explain the procedure to the patient
Place the patient in prone position and place a sandbag under the abdomen
Fold down the bed clothes and expose the lumbar region
Cover patient with shoulder blanket
Protect the bed clothes with mackintosh and towel
Wash hands
Assist as required
Skin is cleaned with antiseptic

## Slide 59
The skin at the biopsy site is infiltrated with a local anaesthetic
The biopsy needle is introduced just inside the renal capsule of the outer quadrant of the kidney
The location of the needle may be confirmed by fluoroscopy or by ultra sound, in which case a special probe is used
With open biopsy, a small incision is made over the kidney allowing direct visualization .
Preparation of open biopsy is similar to that of any major abdominal surgery
The doctor withdraws the biopsy needle and the specimen is placed in the jar
A very firm dressing is then applied over the puncture site

## Slide 60
Post biopsy nursing care
Ask patient to remain in prone position for 1hr and remain on bed rest for 24hrs to minimize the risk of bleeding
Vital signs are taken every 5-15 minutes for the first 1hr, and then with decreased frequency as indicated.
Note;
Kidney is a highly vascularised organ, bleeding can occur through the puncture site and collect in peri-renal space without being noticed and can lead to shock.
A clot can form in ureters causing severe pain

## Slide 61
Observe for any signs of shock
Take post biopsy urine specimen for comparison with baseline
Hb is assessed within 8hrs
Incase of excessive bleeding;
Blood transfusion is commenced
Surgical intervention to control haemorrhage and drainage or’
Nephrectomy is done
Advise patient to avoid strenuous activity and heavy lifting for two weeks to prevent trigger of delayed hemorrhage
Patient should report back incase of any signs or symptoms of bleeding(haematuria, fainting, dizzyness)