## Slide 1: GIT IMAGING

## Slide 2
Dr. T. Musila Mutala, M.B., Ch.B. (Nbi), M.Med.(DIRM)(Nbi), M.Onc.Imag.(Pisa)
Consultant Radiologist and Cancer Imaging Specialist
Lecturer, Department of Diagnostic Imaging and Radiation Medicine, University of Nairobi.

## Slide 3: OBJECTIVES
Describe the modalities available for GIT imaging
Discuss the indications, contraindications and patient preparation for each of the modalities
Highlight the limitations of the described imaging modalities
Present examples of anatomic and pathological images as demonstrated in each of the modalities

## Slide 4: MODES OF GIT IMAGING
Plain radiography
Contrast radiography
Ultrasound
CT Scan
MRI Scan
Radionuclide imaging (Nuclear Medicine)
Angiography

## Slide 5: PLAIN RADIOGRAPHY
Main Indication
Plain radiographs are frequently still the first investigation in the acute abdomen
Main Limitations
For non-acute situations, the relatively small yield of information from a plain radiograph does not justify the radiation dose that it entails, unless it is on follow up basis.
Poor soft tissue contrast hinders accuracy of detecting disease outside the GIT lumen.
Caution
Plain radiographic findings must corroborate with clinical findings: sometimes even obvious signs can be non-specific generating a plethora of differential diagnoses. A good example is the presence of air-fluid levels which may be benign or a pointer to obstruction

## Slide 6: PLAIN RADIOGRAPHY: projections
Usually adequate for detecting general GIT status
Indicated when looking for air-fluid levels within the bowel or extra-bowel gas

## Slide 7: AXR -The densities
Air
Fat
Soft tissues
Calcified structures

## Slide 8: Abdominal x-ray: systematic approach – option 1
Check the patient details
Assess quality (including presence of artifacts).
Bowel gas
Soft tissues
Bones
Abnormal calcifications
Be Sure Before Action!

## Slide 9: Abdominal x-ray: systematic approach – option 2
Air
Bowel
Density
Organs
External objects and artefacts
ABDO X

## Slide 10
Artefacts!

## Slide 11
AXR – Air Distribution (Bowel Gas)
Intraluminal
Extraluminal
Normal
Abnormal
Abnormal

## Slide 12
Bowel Gas

## Slide 13
Gastric bubble

## Slide 14
Normal Large bowel gas

## Slide 15: AXR – Air Distribution
Normal findings

## Slide 16: ABNORMAL INTRALUMINAL AIR PATTERN: LOCALISATION

## Slide 17: AXR – abnormal Air Distribution – Intraluminal
Small bowel obstruction
Supine
Erect

## Slide 18: AXR – abnormal Air Distribution -intraluminal
Large bowel obstruction – supine

## Slide 19: AXR – Air Distribution – intraluminal abnormal
Paralytic ileus
Sigmoid volvulus
meteorism

## Slide 21: AXR – ABNORMAL Air Distribution - extraluminal
Air under the diaphragm
Pneumoperitoneum – secondary to perforated gut

## Slide 22
Rigler’s sign – Double wall sign
Pneumoperitoneum – secondary to perforated gut

## Slide 23: AXR – ABNORMAL Air Distribution - extraluminal
Pneumoperitoneum – Lt lateral decubitus view

## Slide 24: AXR – ABNORMAL Air Distribution – EXTRALUMINAL
Pneumatosis intestinalis (intramural)

## Slide 25: Air shall only be kept within the bowel for it to be considered normal
And in the right proportions

## Slide 27
GIT Contrast Radiography
Luminal studies
High atomic number material
Low atomic number material

## Slide 28
Sialography – salivary glands
Ba. Swallow – oesophagus
Ba.Meal – oesophagus, stomach, duodenum
Ba. meal follow through – o,s,d,sb
Small Bowel Enema (Enteroclysis)-small bowel
Ba. Enema – large bowel
Colostrogram, Sinogram, Fistulogram
GIT Contrast Radiography
– Modalities

## Slide 29
Sialogram

## Slide 30
Ba swallow
Normal
Normal
Ca oesophagus

## Slide 31
Ba meal

## Slide 32
Ba meal follow through

## Slide 33
Small bowel enema (enteroclysis)

## Slide 34
Ba Enema

## Slide 35
Ultrasound in GIT Imaging
Though of limited value in imaging the GIT, for the reason that gas produces poor sound penetration, it can be useful in the following areas
Suspected masses
Suspected peritoneal fluid collections
Suspected calculus
Suspected inflammatory conditions like appendicitis
Suspected intusussception
Suspected hernias
The jaundiced patient

## Slide 36
Computerised Tomography (CT) in GIT
Gaining popularity as investigation of choice in acute abdomen and trauma
Complements other radiological studies of the GIT to determine the extent of disease
Evaluatethe mesentery, adjacent solid organs, the peritoneal cavity, and the retroperitoneum
Stage malignancies and evaluate for recurrence
CT enteroclysis to evaluate the small bowel
Virtual endoscopy – CT Colonography has largely replaced Ba enema as the imaging modality of choice in large bowel disease. It is also incorporated as a screening tool for colorectal carcinoma in high risk groups.

## Slide 37
Computerised Tomography (CT) in GIT
Take note of the following:
CT is relatively expensive and unavailable
Caution has to be taken since it gives high radiation dose to the patient

## Slide 38
Computerised Tomography (CT) in GIT
Normal appendix
Acute appendicitis

## Slide 39
Computerised Tomography (CT) in GIT
Caecal malignant tumour
Metastatic liver lesions from Ca.colon

## Slide 40
Computerised Tomography (CT) in GIT
CT (virtual) colonoscopy) reveals a polyp

## Slide 41
Magnetic Resonance Imaging (MRI) in GIT
Though more expensive and less available compared to the modalities we have already discussed it has these main advantages
Excellent soft tissue contrast
Non- ionising radiation
Multi- sequential multi-planar capabilities
Its application includes the same as CT except that it is not used in acute setting.

## Slide 42
Magnetic Resonance Imaging (MRI) in GIT
Though more expensive and less available compared to the modalities we have already discussed it has these main advantages
Excellent soft tissue contrast
Non- ionising radiation
Multi- sequential multi-planar capabilities
Its application includes the same as CT except that it is not used in acute setting.

## Slide 43
Angiography in GIT
Right colic artery extravasation of contrast demonstrating point of hemorrhage
Main role is in combined diagnostic and interventional imaging

## Slide 44: LIVER AND BILIARY TRACT IMAGING – PET (POSITRON EMISSION TOMOGRAPHY)
PET-CT scan image showing a metastatic lesion within the left lobe of the liver

## Slide 45
Thank you
Musila Mutala