# Bacteriology of water, sewage and swimming pools

## Definitions

- Water borne diseases – diseases due to microorganisms associated with primary gastro-intestinal pathogens.

  - Bacteria – salmonella, shigella, vibrios, campylobacter

  - viruses – enteroviruses, rotaviruses

  - protozoa – E. histolytica, G. lamblia e.t.c

- Potable water (potability of water)

  - water which is safe to drink i.e water free of primary pathogens

## Sources of drinking water

- rain water – roof catchment

- rivers

- lakes/dams

- wells

  - Shallow wells

  - deep wells

- sea water

- * bottled water

## Ensuring safe drinking water

- boiling

- other treatment

  - Ion exchange : removes Iron and manganase, calcium, mg

  - filtration ; removes suspended particles

  - disinfection: chlorination, ozonation, irradiation - removes micro-organisms

# Role and characteristics of Indicator organisms in microbiological analysis of water purity

- microbial GIT pathogens are present in very small numbers which are difficult to detect using conventional clinical methods

- indicator organisms used as an indirect marker

- current tests are still unable to detect viruses and protozoa which are also not easy to remove using the Rx methods

## Characteristics and criteria for choosing indicators

- Suitability for analysis of all types of water tap, river, ground, lake, estuary, sea e.t.c

- Present whenever enteric organisms are present

- Survives longer than hardiest enteric pathogens

- Does not reproduce in contaminated water

- Simple assay procedure

- Should be harmless to humans

- Level should have direct relationship to level of fecal contamination

- Examples: coliforms, fecal streptococci, sporing anaerobes: Clostridia

# Tests for monitoring microbial content of drinking water

- Quantitative tests

- Measure the total bacterial content. These tests fall into categories.

- Presumptive coliform count using:

- Multiple table technique

1 x 50 ml bottle

5 x 10 ml bottle

5 x 5 ml bottle

- each with a sterile Durham's tube inside

- The bacteriological medium is double strength MacConkey liquid medium with brilliant green added as indicator

- Interpretation

  - read the number of bottles with colour change as shown by the indicator. Read against a pre-computed McCrady table

  - results expressed as 'Most probable number (MPN) per 100mls of water

- Membrane filter technique

- water filtered through a membrane which is then transferred to solid bacteriological medium

- Differential coliform counts

- Determines possible fecal sources of contamination

- Eijkman Test – uses strains of E. coli capable of growing at 44°C

- Viable counts at 37oc and 220c estimates the number of viable vegetative organisms

## Interpretation of MPNs for various sources of water

- Chlorinated tap water:

- presence of any coliform in 100ml indicates insufficient rx

- Non-chlorinated piped supplies

- should contain less than 3 coliforms/100ml. ≥ 3 Coliforms/100ml is unsuitable

- Unpiped rural supplies – deep wells should not contain more than 10 coliforms/100ml

- Pollution from other sources

## Recreational water

- swimming pools, water splashes

  - should be made safe to avoid infection with potential skin pathogens and GIT pathogens in case of accidental swallowing.

  - Rx usually done by chlorination.

  - Examination to ensure safety same as for water for drinking

## Sewage

- Before being released in the environment sewage should be analyzed to ensure effective rx

- Rx of sewages is carried out by the process of anaerobic digestion which degrades organic matter including aerobic bacteria into methane and CO2

- Assessment of effective Rx done using the same methods as for water but MPNs are higher

- There may be need to look specific pathogens such as salmonella, shigella, during epidemics